QAI Data Center Service Standards
and Stakeholder Assurance

Research summary, reference links and proposed maturity plan for Bhadale IT

Purpose: consolidate the supplied articles, research papers, government guidance and data-centre service references into a working brief to clarify the evidence base, candidate requirements, standards options, open questions and staged route toward QAI Data Center as a Service (QAI-DCaaS).

# 1. Executive summary

The sources point to managed, measurable services—not simply servers, networks and facilities. Service definitions, roles, workload handling, monitoring, security, continuity, cost visibility and evidence all matter.

Quantum computing adds service-engineering and resource-orchestration needs: hybrid workflow routing, backend compatibility, scheduling, job metadata, calibration/status awareness and evidence capture. Requirements vary by modality and provider.

Facility assurance and software/service assurance are related but not interchangeable. A software demo does not certify a physical facility; a facility rating does not validate QAI software or quantum advantage.

For Australia-facing proposals, government expectations around national interest, security/data sovereignty, energy, water, workforce, research and local capability are relevant to large facilities.

Recommended sequence: QAI Data Center Blueprint → Phase 2 Deployment Operator → virtual validation → infrastructure gap assessment → qualified partners/hardware → service catalogue and operating model → independent assurance decision → QAI-DCaaS commercialization.

# 2. Scope and terminology

QAI Data Center Blueprint defines architecture, engineering principles and deployment patterns. The QAI Deployment Operator supports controlled deployment planning/execution. QAI-DCaaS is the client-facing service for investment planning, architecture, program delivery, deployment and lifecycle management. QCaaS generally means remote access to quantum-computing resources/software; QDaaS/QDCaaS terminology is not fully uniform.

The supplied material mixes research preprints, government policy, industry commentary, standards-framework descriptions and vendor-associated service material. They have different evidentiary weight. Research papers are not certification standards; industry articles are context, not normative requirements.

# 3. Source-by-source summaries

## 3.1 Data Center Dynamics — Are data centers ready for “quantum in the cloud”?

URL: https://www.datacenterdynamics.com/en/opinions/are-data-centers-ready-for-quantum-in-the-cloud/

Industry opinion by Yonatan Cohen of Quantum Machines, published 22 July 2026; discusses the transition from experimental quantum infrastructure to a true cloud service.

Use it to examine integration between quantum control systems, classical compute, networking, software and cloud interfaces.

For QAI, investigate workload lifecycle, hybrid execution, backend observability, support boundaries and service-level definitions.

Limit: industry commentary, not an independent certification scheme or universal specification.

## 3.2 arXiv — Towards A High-Performance Quantum Data Center Network Architecture (2509.09653)

URL: https://arxiv.org/pdf/2509.09653

Yufeng Xin and Liang Zhang; preprint dated 11 September 2025. Proposes a three-layer fat-tree network architecture for modular quantum data centres.

Focuses on scalability, entanglement distribution, switching and scheduling scarce quantum-memory/entangled-pair resources to mitigate decoherence.

Uses queueing models and NetSquid simulation; this is simulation evidence, not proof of commercial deployment.

Retain as a future research reference for quantum networking/distributed QPUs; not an immediate requirement for the virtual/classical-first platform.

## 3.3 arXiv — Quantum Computing as a Service: a Software Engineering Perspective (2510.04982v1)

URL: https://arxiv.org/html/2510.04982v1

Research mapping study and architecture-based development paper proposing a four-phase QCaaS service-development lifecycle and layered reference architecture.

Four phases: service conception, service modelling, service assembly and service deployment. It covers requirements, quality attributes, modelling, patterns, implementation and deployment.

Highlights hybrid quantum-classical split patterns, service/API abstractions, reusable software-engineering knowledge and human roles.

Use for QAI service contracts, lifecycle artifacts and responsibility allocation. It is research, not a formal standard.

## 3.4 Australian Government — Expectations of data centres and AI infrastructure developers

URL: https://www.industry.gov.au/publications/expectations-data-centres-and-ai-infrastructure-developers

Department of Industry, Science and Resources; announced 23 March 2026. Applies to new or expanded Australian developments, including large colocation, hyperscale and large-scale AI compute facilities; not small edge or on-site enterprise data centres.

Five areas: national interest; energy transition; sustainable water use; Australian skills/workforce; research, innovation and local capability.

Also stresses data sovereignty, national security, privacy, community engagement, utility coordination and existing legal obligations.

Use as an Australia-specific planning lens; applicability depends on actual project scale, location and delivery model.

## 3.5 ASHRAE — AI Data Center Energy Performance Framework: Introduction and Purpose

URL: https://www.ashrae.org/technical-resources/topics-and-initiatives/ai-data-center/introduction-and-purpose

Guidance for owners, designers and project managers covering siting, integrated design, energy/thermal efficiency, grid interaction, resilience, commissioning, operations and retrofit.

Balances efficiency, resilience and high performance across the lifecycle.

Metrics include PUE, WUE, WUI, CUE, DCRE and IT work capacity/utilization; select metrics for the facility and use case.

Guidance does not itself supersede applicable codes or create mandatory requirements.

## 3.6 International Data Center Authority — Data Center Standards / Infinity Paradigm

URL: https://www.idc-a.org/data-center-standards

IDCA describes AE360 / Infinity Paradigm as a holistic framework spanning application, platform, compute, IT infrastructure, facility infrastructure, site and topology.

Emphasizes cross-layer performance, operational risk, resilience, security, efficiency, capacity and maintainability, with grading and assessment services.

Its cross-layer view may help structure QAI risk and stakeholder assessments. Verify scope, assessment method, recognition and commercial terms directly with IDCA.

Do not imply equivalence to ISO certification or another scheme without checking exact scheme and accreditation.

## 3.7 GovLoop / ViON — Data Center as-a-Service: The Gateway to Rapid IT Modernization

URL: https://go.govloop.com/rs/231-DWB-776/images/Data-Center-as-a%20Service.pdf

Eight-page market-trends report on government IT modernization and DCaaS, produced by GovLoop with ViON.

Describes consumption of compute, storage, network and related services, potentially including data management, protection, backup, recovery, archiving and analytics, reducing upfront infrastructure investment.

Highlights application/dependency inventory, migration planning, data location, disaster recovery, cost management and acquisition planning.

Includes historical US federal figures/examples from around 2016–2018; not current benchmarks or forecasts.

## 3.8 Data Center Asia — What is Data Center as a Service (DCaaS)?

URL: https://www.datacenter-asia.com/blog/what-is-data-center-as-a-service-dcaas/

Industry explainer describing subscription-based access to hosted compute, storage and networking.

Emphasizes scalability, flexibility, consumption-based economics and reduced responsibility for owning/maintaining physical infrastructure.

Useful for plain-language positioning and discovery around subscription, capacity, support, security and service boundaries.

General explainer, not a formal standard or independent proof of provider performance.

# 4. Other standards and claims in supplied notes

The notes also mention IEEE P3404/P3404.1, IEEE Gold Book, NFPA codes, ISO/IEC 22237 / EN 50600, ISO 22301, ISO/IEC 27001, ISO/IEC 20000-1, NIST post-quantum cryptography, QKD, Open Compute Project, QSC/control systems, FPGA, vendor platforms and targets such as 99.999% uptime.

Treat these as candidate research topics, not verified applicable requirements. Verify exact standard number/title, edition, scope, applicability, legal status, accreditation route and whether it applies to a facility, management system, product, network, cryptographic implementation or service contract.

Do not promise five-nines availability by default. An SLA depends on service boundary, architecture, redundancy, maintenance windows, dependencies, measurement period, exclusions, incident handling and remedies. Remote QPU-provider availability is not fully controlled by Bhadale IT unless technically and contractually supported.

# 5. Cross-source synthesis: implications for QAI

| Capability | Source signal | QAI implication |
| --- | --- | --- |
| Architecture/orchestration | Hybrid resources need coherent interfaces and lifecycle management. | Keep modular abstractions; define compatibility, discovery, planning, authorization and evidence. |
| Service engineering | QCaaS benefits from conception, modelling, assembly and deployment stages. | Define contracts, quality requirements, roles, artifacts and test gates. |
| Facility readiness | Energy, cooling, resilience, commissioning and operations matter across lifecycle. | Assess workload, facility, power, cooling, site and support before hardware procurement. |
| Sustainability/social licence | Energy, water, workforce, local capability, security and community matter in Australia. | Create jurisdiction-specific obligations and stakeholder-impact register. |
| Operational assurance | Cross-layer controls and measurable risk/performance build confidence. | Link requirements to controls, tests, metrics, owners and evidence. |
| Commercial model | DCaaS packages infrastructure/management as consumable services. | Define tiers, pricing units, boundaries, dependencies, lifecycle costs and customer duties. |
| Quantum readiness | Quantum networking/QPU behavior adds modality-specific constraints. | Start with simulation and partner/remote access; add local hardware when justified. |

# 6. Proposed QAI maturity and stakeholder plan

## Phase 1 — Stabilize software control plane (current priority)

Continue Phase 2 Deployment Operator. Review schemas/contracts; validate workload definitions, resource discovery, compatibility, planning, approvals, execution boundaries and evidence capture.

Expected evidence: Tests, schema validation, repeatable scenarios, limitations, change log and acceptance criteria.

## Phase 2 — Virtual data-centre validation

Test successful/rejected deployments, missing/incompatible resources, failures, authorization, repeatability and audit/evidence.

Expected evidence: Test results, execution logs, compatibility results, failure scenarios and clear simulation/physical distinction.

## Phase 3 — Service management design

Define catalogue, onboarding, roles, support, incident/problem/change management, maintenance, reporting, data handling, continuity and escalation.

Expected evidence: Service descriptions, RACI, procedures, SLO/SLA definitions and customer-facing limitations.

## Phase 4 — Standards/compliance gap assessment

Select candidate standards and jurisdictional expectations; map requirements to controls and gaps.

Expected evidence: Applicability decisions, requirements-to-control matrix, risk register, gap owners and remediation plan.

## Phase 5 — Infrastructure/partner qualification

Assess servers, storage, networking, GPU/HPC, FPGA and possible QPU/control connectivity; include site, power, cooling, security, support and lifecycle costs.

Expected evidence: Architecture options, vendor criteria/quotes, total-cost scenarios, dependency map and procurement gate.

## Phase 6 — Controlled pilot/readiness review

Run bounded pilot against agreed use cases and baselines; measure completion, performance, cost, incidents, recovery, evidence and user experience.

Expected evidence: Pilot report, deviations, corrective actions, acceptance criteria, go/no-go decision and approved service scope.

## Phase 7 — Independent assurance/commercialization

After scope stabilizes, decide whether facility assessment, management-system certification, product assurance or other schemes are warranted.

Expected evidence: Assessor-confirmed scope, findings, corrective-action plan, service catalogue, commercial assumptions and claims register.

# 7. Suggested stakeholder evidence pack

Architecture/scope: system context, service boundaries, deployment patterns, execution modes and exclusions.

Maturity register: implemented, tested, simulated, planned and hardware-qualified capabilities clearly distinguished.

Requirements/standards matrix: source, requirement, applicability, control owner, verification method, evidence, gap and target date.

Service operations: catalogue, RACI, incident/change procedures, support model, maintenance and escalation.

Quality/performance: test strategy, baselines, SLO/SLA definitions, observability, failure scenarios and recovery evidence.

Security/data governance: access control, tenant separation, sensitive data, logging, retention, sovereignty, supplier duties and incident response.

Infrastructure/sustainability: capacity, power, cooling, energy/water measures, resilience, commissioning and lifecycle assumptions.

Commercial/investment: work packages, milestones, CAPEX/OPEX, lifecycle costs, risk-adjusted scenarios and sensitivity analysis.

Claims register: what is demonstrated, simulated, third-party supplied, planned and not yet supportable.

# 8. Candidate metrics

| Area | Candidate measures (definitions and scope required) |
| --- | --- |
| Deployment lifecycle | Plan-generation success; correct compatibility/policy rejection; deployment success/failure; rollback/recovery; time to deploy; evidence completeness. |
| Service operations | Availability within defined boundary; incident response/resolution; change success; support response; maintenance adherence; customer-reported quality. |
| Classical/AI infrastructure | Utilization, throughput/latency, capacity headroom, storage/network performance, power use and cost per workload. |
| Facility/sustainability | PUE, WUE/WUI, CUE or other relevant measures where scope/data permit; resilience, commissioning and maintenance findings. |
| Quantum workloads | Queue time, job completion/failure, backend availability/calibration where exposed, repeatability, cost per job/shot and classical-baseline comparison. |
| Commercial outcomes | Cost variance, milestone completion, customer acceptance, onboarding time, unit economics and customer outcomes. |

# 9. Stakeholder decisions and open questions

What is the first service to prove: virtual deployment control, managed classical/AI infrastructure, hybrid quantum workflow orchestration, or advisory/engineering?

Which customer segment and jurisdiction define the first service boundary and standards review?

Will infrastructure be owned, leased, colocated, cloud-provided or accessed through qualified partners?

Which workloads justify local GPU/HPC/FPGA or QPU investment, and what evidence is needed before procurement?

What availability and support commitments can be measured and contractually controlled?

Which independent standards/certifications are needed for the target market, customer, facility and operating model?

Who owns each control, evidence artifact, operational duty, supplier dependency and acceptance decision?

# 10. Recommended immediate actions

Keep Phase 2 Deployment Operator as the active engineering priority.

Add an assurance matrix to the existing QAI engineering/documentation structure rather than creating a parallel framework.

Use the QCaaS software-engineering paper for lifecycle artifacts; retain the quantum network paper as a future research input.

Use ASHRAE and Australian Government expectations as planning lenses; evaluate IDCA as a candidate framework, not an assumed requirement.

Separate near-term virtual/software assurance from later physical-facility assessment and independent certification.

Before external circulation, review scope, claims, standards applicability and source currency with technical, security, facilities and legal/compliance specialists.

# 11. Reference list

Data Center Dynamics — Are data centers ready for quantum in the cloud?: https://www.datacenterdynamics.com/en/opinions/are-data-centers-ready-for-quantum-in-the-cloud/

Xin & Zhang — Towards A High-Performance Quantum Data Center Network Architecture: https://arxiv.org/pdf/2509.09653

Ahmad et al. — Quantum Computing as a Service: a Software Engineering Perspective: https://arxiv.org/html/2510.04982v1

Australian Government — Expectations of data centres and AI infrastructure developers: https://www.industry.gov.au/publications/expectations-data-centres-and-ai-infrastructure-developers

ASHRAE — AI Data Center Energy Performance Framework: https://www.ashrae.org/technical-resources/topics-and-initiatives/ai-data-center/introduction-and-purpose

International Data Center Authority — Data Center Standards: https://www.idc-a.org/data-center-standards

GovLoop / ViON — Data Center as-a-Service report: https://go.govloop.com/rs/231-DWB-776/images/Data-Center-as-a%20Service.pdf

Data Center Asia — What is DCaaS?: https://www.datacenter-asia.com/blog/what-is-data-center-as-a-service-dcaas/

# 12. Limitations and use

This is a planning research brief, not legal advice, a conformity assessment, a certification decision or an engineering design.

Sources vary in authority and purpose; research, commentary, vendor-associated material and government expectations are not equivalent.

Standards applicability depends on service scope, jurisdiction, facility design, contracts, data types and customer requirements.

No claim is made that Bhadale IT’s current platform is physically certified, production-ready, hardware-qualified or capable of guaranteed quantum advantage.

Returns, availability, energy/water outcomes and performance must be modelled and verified against explicit assumptions and measured evidence.